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A CALL FOR TENDER – Solar Panel Installation
TENDER FORM

Supplier:

Name of the firm :

Legal address:

Telephone:




Fax:

Legal representative:
Tin number of company:     


Office:

Requester: Médecins Sans Frontières-OCA (MSF)

Address: House 11, First Avenue, Gwarinpa, Abuja
Telephone: 09025063734
Procedure: Formal and procedural requirements
Bid conditions

Deadline

Offers must be returned in sealed envelopes with our technical descriptions and specifications by Friday,22-11-2019 at the latest to the following address:

Médecins Sans Frontières-OCA (MSF), House 11, First Avenue, Gwarinpa, Abuja
Any offer returned after the deadline will not be considered.

Reception 

The envelopes will be opened in the presence of MSF (Deputy) Logistics Coordinator, Logistics Coordinator, Financial Coordinator, Head of Mission, and representatives of the supplier at 0900 Saturday,23-11-2019 in the MSF office at House 11, First Avenue, Gwarinpa, Abuja. The representatives must leave immediately after the opening of the envelopes and have no right to influence MSF OCA’s decision in any way.

Validity
We agree to retain these offers for two months starting from the day of receipt of the offer. The offer is thus valid and may be accepted at any time before the end of the period mentioned above.

Assessment

MSF is under no obligation to accept all the optional equipment specified in the list of technical characteristics.

Completion date

Completion of all works outlined within this call for tender must be completed by Saturday, 28-12-2019.
Should delivery exceed above mentioned date, the supplier shall pay to the purchaser a penalty of 0.1% of the total purchase amount for each day of delay.

Transport & Logding
The transport cost of material, and laborers, as well as lodging has to be included in the tender for all the above mentioned locations.
Documentation to be provided with tender:

All required documents to be provided

1. Clear Bill of Quantity to outline all products offered

2. Specifications of all products offered

3. Certification documents for the products 

4. Example invoice from supplier 
5. 2 year warranty confirmation on all items offered within the tender
6. Bank guarantee for the transaction
7. Contact details and information for 2 references of similar work
Schedule of conditions

Technical Specifications

There are 4 locations to install solar panel installation systems:

Sokoto: NERU House, NERU office, Noma house

Anka: Expat house

Specific load calculation have to be completed on sight after the contract has been awarded;

Content of this tender is for all materials, installations costs and labour for 4 different houses in 2 different cities:

The proposed solar installation should be able to cater for at least; 

· 4 x fridges (2 x upright double door domestic fridges and 2 x large size chest freezers)

· 2 x water coolers

· 22 x energy saving lamps of 14w

· Minimum 10 laptops

Quality of material proposed:

· Solar panels need to conform to certified standards (e.g. TUEV) and be of a reputable brand

· The rated output power of any supplied module shall have tolerance within +/- 3 %

· The total solar PV array capacity should have 10% more than allocated capacity (kWp) and should comprise of solar crystalline modules of minimum 250Wp and above wattage.
· The PV module frame shall be made of  corrosion resistant materials and must be able to with stand high temperatures prevailing in Nigeria (60 degrees)

Installation specification:
· The solar panel array shall be suitably protected against lightning, induced high voltages and induced transients. Adequate protective devices against surges at the PV modules shall be provided

· The whole installation shall be provided with suitable and appropriate earthing arrangements.

WORKMANSHIP
· Installation should be carried out to acceptable standards and in reasonable time, shoddy work will not be accepted

· Installation should be safe and all structures secure
· The solar installation should be theft secure. 
· Safety during entire installation work should be observed and will be enforced for both personnel and equipment used on MSF facilities.
GUARANTY AND WARRANTY

· Solar installation to be provided with a guarantee of mimimum two years from dated of commissioning on workmanship and product
TOTAL QUANTITY OVERVIEW FOR ALL LOCATIONS
	Item Description
	Quantity 

	Solar panels
	To be specified by supplier

	Materials
	To be specified by supplier

	Other - Labour, transport, lodgings etc
	To be specified by supplier


QUANTITY BREAKDOWN PER LOCATION

Location 1 – Sokoto

	Item Description
	Quantity 

	Solar panels
	To be specified by supplier

	Materials
	To be specified by supplier

	Other - Labour, transport, lodgings etc
	To be specified by supplier


Location 2 – Anka
	Item Description
	Quantity 

	Solar panels
	To be specified by supplier

	Materials
	To be specified by supplier

	Other - Labour, transport, lodgings etc
	To be specified by supplier


After examination of the above specifications, we agree to provide the product solar panel installation and all associated materials, labour, transport and installation equipment) for:

Unit price per solar panel amount of:

………………………………………………. Nigerian Naira (write in numbers)

………………………………………………… Nigerian Naira (write in letters) 

Unit price for materials amount of:

………………………………………………. Nigerian Naira (write in numbers)

………………………………………………… Nigerian Naira (write in letters) 

Unit price other – labour, transport, lodgings etc. amount of:

………………………………………………. Nigerian Naira (write in numbers)

………………………………………………… Nigerian Naira (write in letters) 

TOTAL amount of:

………………………………………………. Nigerian Naira (write in numbers)

………………………………………………… Nigerian Naira (write in letters) 

Signature and stamp
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