[bookmark: _Hlk208843394]REQUEST FOR QUOTATION (RFQ)
Company: Rhuoga Energy 
RFQ Reference No.: RFQ/SE/0002

 SUBJECT: Request for Quotation for the Supply of ELECTRICAL EQUIPMENT for an ELECTRICAL WORKSHOP.

	SECTION 1: CLASSROOM SETUP 

	s/n
	Type
	Description 
	Unit
	Delivery Location
	Unit Price (NGN)
	Total Price (NGN)

	1. 
	Individual workplaces
	Single station benches
	16
	Naija State
	
	

	2. 
	Individual workbenches 
	Heavy Duty Height Adjustable Workbench
	3
	Naija State
	
	

	3. 
	Classroom set up 
	Smart board + ultra short throw projector
	1
	Naija State
	
	

	4. 
	Classroom set up 
	Teacher chair adjustable in height.
	1
	Naija State
	
	

	5. 
	Classroom set up 
	Instructor chair & table adjustable in height
	3
	Naija State
	
	

	6. 
	Classroom set up 
	one person tables 
	16
	Naija State
	
	

	7. 
	Classroom set up 
	workshop chairs 



	16
	Naija State
	
	

	SECTION 2: ELECTRICAL EQUIPMENT  

	s/n
	Type
	Description 
	Unit
	Delivery Location
	Unit Price (NGN)
	Total Price (NGN)

	8. 
	Domestic installation package 

	Grid panel; Panel for flush-mounted civil plants with 6 terminal boxes Junction box; Enclosed board housing with 6 places; 
Civil installations; Complete industrial installations; Electric measurement; Protection"
	1
	Naija State
	








	

	9. 
	Tool set 
	Large toolbox made of polypropylene, including tools
	16
	Naija State
	
	

	10. 
	Motors 
	Squirrel Cage - 1.2KW
	3
	Naija State
	
	

	11. 
	Motors 
	Two speed - 0.7KW
	2
	Naija State
	
	

	12. 
	Motors 
	Dahlander - 0.37KW
	2
	Naija State
	
	

	13. 
	Motors 
	Asynchronous Single phase -0.6KW
	2
	Naija State
	
	

	14. 
	Motors 
	Synchronous - 1KVA
	1
	Naija State
	
	

	15. 
	Motors 
	Slip ring - 0.37KW
	1
	Naija State
	
	

	16. 
	Motors 
	DC - 1.1KVA
	1
	Naija State
	
	

	17. 
	Multimeter
	Multimeter
	5
	Naija State
	
	

	18. 
	Power Supply 
	Suitable for supplying fixed and variable alternating current and fixed and variable
	5
	Naija State
	
	

	19. 
	Torque Meter
	Torque Meter

	1
	Naija State
	
	

	20. 
	Bench Measuring Unit
	Bench Measuring Unit

	10
	Naija State
	
	

	21. 
	Divider boards 
	3 different dimensions (10 per dimension)
	10
	Naija State
	
	

	22. 
	Energy meters
	Digital
	6
	Naija State
	
	

	23. 
	Energy meters
	Smart
	4
	Naija State
	
	

	24. 
	Installation material
	Surface mounted Pipes Ø16mm, 3m long
	50
	Naija State
	
	

	25. 
	Installation material
	Surface mounted Pipes Ø19mm, 3m long
	50
	Naija State
	
	

	26. 
	Installation material
	Surface mounted Pipe clips Ø 16 mm
	500
	Naija State
	
	

	27. 
	Installation material
	Surface mounted Pipe clips Ø 19 mm
	500
	Naija State
	
	

	28. 
	Installation material
	Surface mounted Square pipe 25x40, 3m long
	50
	Naija State
	
	

	29. 
	Installation material
	Surface mounted Square pipe 40x40, 3m long
	50
	Naija State
	
	

	30. 
	Installation material
	Surface mounted Square pipe corners 25x40
	50
	Naija State
	
	

	31. 
	Installation material
	Surface mounted Square pipe corners  40x40
	50
	Naija State
	
	

	32. 
	Installation material
	Surface mounted Junction boxes 87 x 87 x 40mm
	50
	Naija State
	
	

	33. 
	Installation material
	Surface mounted Junction boxes 126 x 65 x 40 mm
	50
	Naija State
	
	

	34. 
	Installation material
	Surface mounted Modular wall-mounted containers 65 x 65 x 30 mm
	50
	Naija State
	
	

	35. 
	Installation material
	Surface mounted Modular wall-mounted containers 
	50
	Naija State
	
	

	36. 
	Installation material
	Surface mounted Modular wall-mounted containers: single, two way, intermediate, series and dimmer switches (100 each) 65x65x30 mm
	500
	Naija State
	
	

	37. 
	Recessed mounted 
	Flexible pipe 16 mm
	1
	Naija State
	
	

	38. 
	Recessed mounted 
	Flexible pipe 20 mm
	1
	Naija State
	
	

	39. 
	Recessed mounted 
	Containers and module 108 x 71 x 53 mm
	100
	Naija State
	
	

	40. 
	Recessed mounted 
	Containers and module: single wall Sockets  
	100
	Naija State
	
	

	41. 
	Recessed mounted 
	Containers and module: double wall sockets 
	100
	Naija State
	
	

	42. 
	Recessed mounted 
	Containers and module: single switches 
	100
	Naija State
	
	

	43. 
	Recessed mounted 
	Containers and module: double switches 
	100
	Naija State
	
	

	44. 
	Recessed mounted 
	Containers and module: intermediate switches 
	100
	Naija State
	
	

	45. 
	Recessed mounted 
	Containers and module: series switches 
	100
	Naija State
	
	

	46. 
	Recessed mounted 
	Containers and module: dimmer switches 
	100
	Naija State
	
	

	47. 
	Cable and wire
	Single pole, PVC insulated cable - FS17, black, red, blue, yellow/green 
	1
	Naija State
	
	

	48. 
	Multi pole
	XLPE/PVC insulated cable – XMVK 3G1.5, 3G2.5, 5G1.5, 5G2.5
	1
	Naija State
	
	

	49. 
	Distribution boxes: 

	4 modules 
	16
	Naija State
	
	

	50. 
	Distribution boxes: 

	8 modules 
	16
	Naija State
	
	

	51. 
	Distribution boxes: 

	12 modules 
	16
	Naija State
	
	

	52. 
	Distribution boxes: 

	24 modules
	16
	Naija State
	
	

	53. 
	Distribution boxes: 

	36 modules 
	16
	Naija State
	
	

	54. 
	2 Poles Circuit breakers
	16A 
	20
	Naija State
	
	

	55. 
	2 Poles Circuit breakers
	25A
	20
	Naija State
	
	

	56. 
	2 Poles Circuit breakers
	40A 
	10
	Naija State
	
	

	57. 
	RCD: 
	16A
	20
	Naija State
	
	

	58. 
	RCD: 
	25A 
	20
	Naija State
	
	

	59. 
	Main Circuit breakers: 
	3 poles 25A 
	15
	Naija State
	
	

	60. 
	Main Circuit breakers: 
	3 poles 40A 
	15
	Naija State
	
	

	61. 
	Main Circuit breakers: 
	4 poles 25A 
	10
	Naija State
	
	

	62. 
	Main Circuit breakers: 
	4 poles 40A 
	10
	Naija State
	
	

	63. 
	Material and equipment 
	Cam switch - 2 position, 32 A ratings 
	3
	Naija State
	
	

	64. 
	Material and equipment 
	Cam switch - 3 position, 1-0-2, 32 A ratings 
	5
	Naija State
	
	

	65. 
	Material and equipment 
	Cam switch - 3 position, 0-Y-D, 32 A ratings 
	3
	Naija State
	
	

	66. 
	Thermal relay direct mounting under contactor
	4-6A ratings 
	2
	Naija State
	
	

	67. 
	Thermal relay direct mounting under contactor
	7-10A ratings 
	2
	Naija State
	
	

	68. 
	Thermal relay direct mounting under contactor
	9-13A ratings 
	2
	Naija State
	
	

	69. 
	Thermal relay direct mounting under contactor
	17-25A ratings 
	2
	Naija State
	
	

	70. 
	Thermal relay direct mounting under contactor
	23-32A ratings 
	2
	Naija State
	
	

	71. 
	Stand-alone switch 
	8 different ratings (5 each)
	40
	Naija State
	
	

	72. 
	Contactor
	4 different ratings (5 each)
	20
	Naija State
	
	

	73. 
	Relay extension
	Relay extension
	20
	Naija State
	
	

	74. 
	Clamp Meter
	Clamp Meter
	2
	Naija State
	
	

	75. 
	Emergency stop
	Emergency stop
	10
	Naija State
	
	

	76. 
	Circuit breakers: 
	4 poles for 25A ratings 
	10
	Naija State
	
	

	77. 
	Circuit breakers: 
	4 poles for 40A ratings 
	20
	Naija State
	
	

	78. 
	Circuit breakers: 
	4 poles for 63A ratings 
	20
	Naija State
	
	

	79. 
	Energy meters 
	Single phase
	10
	Naija State
	
	

	80. 
	Energy meters - 
	Three phase
	10
	Naija State
	
	

	81. 
	
	
	
	
	
	

	82. 
	SUM TOTAL
	NGN0.00

	83. 
	Value Added Tax VAT (7.5%)
	NGN0.00

	84. 
	GRAND TOTAL
	NGN0.00




REQUEST FOR QUOTATION (RFQ)   Company:  Rhuoga Energy     RFQ Reference No.:  RFQ/SE/000 2       SUBJECT :  Request for Quotation for the Supply of   ELECTRICAL   EQUIPMENT for  an ELECTR I CAL WO RKSHOP .    

SECTION  1: CLASSROOM SETUP   

s/n  Type  Description   Unit  Delivery Location  Unit   Price   (NGN)  Total Price   (NGN)  

1.    Individual  workplaces  S ingle station benches  16  Naija State    

2.    Individual  workbenches   Heavy Duty Height Adjustable Workbench  3  Naija State    

3.    Classroom set up   S mart board + ultra short throw projector  1  Naija State    

4.    Classroom set up   T eacher chair adjustable in height.  1  Naija State    

5.    Classroom set up   Instructor chair & table adjustable in height  3  Naija State    

6.    Classroom set up   one person tables   16  Naija State    

7.    Classroom set up   workshop chairs         16  Naija State    

